## Slide 1: Making Clouds Work for Telcos
From Core to Edge
Ian Wells, Distinguished Engineer
Chandra Ganguly, Director Engineering

## Slide 2: Agenda
Cloud Evolution: Lay of the land
Challenges in the Horizon
Steps to meet the Challenges

## Slide 3
>1,000s of Virtual workloads
Production & Backend services
Rack(s)
>100s of Virtual workloads,
Production services
>10s of Virtual Workloads,
Production Services
Edge Compute
Latency sensitive apps (MEC, IoT, Edge Analytics)
BM
Considerations for End to End Common NFV Platform
High Performance, Automation, Day 0 – N Lifecycle Management, HA, Consistent Networking Models, Logging, Assurance, Security
Modular Cloud Orchestration Software Stack
Multi-Rack
>100s of Virtual workloads
Production services
Micro
Nano
½ or Full Rack
Notes: Towards a Cloud Native Common Virtualization Platform
Power of SP is in footprint
NFV can get to places no-one else can get
Multiple locations, potentially hundreds or thousands, needed to take full advantage

## Slide 4
Centralization and Distribution
The world is changing
Core: small number of large clouds
Edge: large number of small clouds
Centralization:
Fewer clouds, centralized, minimize overhead in management servers and in operations
Can we just add remote compute nodes?
Individual clouds have attractions
Autonomy in Zones
Small Failure Domains
Deployment issues over WAN
Is there a middle ground? Can we keep failure domains small, but ease the management challenges?
Notes: Present the questions, don’t give the answers

## Slide 5: Multi-Site Deployment Model with Cisco Platform
Every site has all type of nodes - fully autonomous
Practical approach with OpenStack – What we are doing
Optimized footprint required to be cost effective
Need simple management & consistent policy
Consistent Policy and Multi-Site Management Capabilities
Mgmt
Control
Compute
Storage
WAN
Mgmt
Control
Compute
Storage
1 Mgmt
3 Control
“N” Compute
3 Storage
1 Mgmt
3 All-in-One
Full-POD
u-POD
Multi-Site Multi-POD VIM Operational Management
NFV Orchestration
Start of the Journey For Foot Print Evolution with Hyper-Converged & Micro-POD
Future
Mgmt
Control
Compute
Storage
Compute
Easy lifecycle and policy management
Extends the failure domain into multi-site
Whole-network upgrade processes
And practically difficult to realize with OpenStack
WAN
Public Cloud Provider
Central DC
Regional DC
CO/Agg/MSO/HE
Cell Site
Access
1 Mgmt
3 Control
“N” Compute
3 Comp+Stor
HC-POD
C-RAN Hub / Pre-Agg.

## Slide 6: SDN in a WAN world
Cloud
Cloud
WAN
Orchestration
WAN SDN
Cloud SDN
Cloud SDN
Standard APIs
Separated failure domains
(if required)
Conventional protocols
Separate teams’ responsibilities

## Slide 7: Challenges for autonomous clouds
True one-touch/one-button install and management
  Installation is not about getting a cloud quickly, it’s about getting the same cloud in every site
  Automation ensures every cloud behaves the same
API-driven mechanisms
  Deploying, upgrading and even repairing a cloud should have APIs
  Handle multiple version of the Cloud (API versioning)
Centralize the operations
  Bring operations to the NOC, no matter where the cloud is
Keep the footprint down
  Site overhead is multiplied up by number of sites; costs escalate

## Slide 8: Cisco’s SP Cloud Strategy

## Slide 9: Cisco NFVI Architecture Today Built on Common Horizontal Platform Foundation from Day 1
VNF Manager
Cisco ESC
NFVO, Resource Orchestration & VNF Service Orchestration
Cisco NSO – Network Services Orchestrator enabled by Tail-f
Virtual Network Functions (Cisco and 3rd Party)
Ultra
CSR
ASAv
vMS
3rd Party
Cisco Physical Infrastructure
Optional Network VIM
(Cisco ACI)
Infrastructure Abstraction with RHEL, KVM/Qemu, Host Packages, vSwitches
Network
(Nexus / NCS5K)
Compute
(UCS)
Storage
(UCS)
Infrastructure Management
Unified Management
API
GUI
Monitoring and Assurance
Virtual Infrastructure
Virtual Storage
(Ceph)
Virtual Compute
(RHEL)
Virtual Network
(Fd.io, OVS, SR-IOV)
Cisco VIM
XRv
vWSA
Red Hat OSP
Cisco VIM
Lifecycle Manager
3rd Party VNFM
3rd Party NFV-O
3rd Party

## Slide 10: Cisco NFVI Powered by Cisco VIM Carrier Grade NFV Platform
Red Hat Enterprise Linux OpenStack Platform (RHEL OSP)
Red Hat Ceph Storage Solution
Fully Automated Installer (1-click, Modular, Robust)
Cisco UCS Compute
Operating Systems – Red Hat Enterprise Linux (RHEL) and Cisco NX-OS / IOS-XR
Cisco Nexus 9000
VIC
Containerized Deployment (Release and version management)
Lifecycle Manager (Day N operations – Pod Mgmt, Update/Upgrades, Reconfig, Power Mgmt)
Control and Data Plane HA (Compute, Network & Storage)
Ubiquitous Security (TLS, SELinux, non-root, RBAC, etc. )
Health Checks & Failure Recovery (CloudPulse, Cloud Recovery, REST)
Logging & Assurance (EFK stack, Zenoss, …)
Integrated Tools (Benchmarking: Networking, Storage, Compute)
Unified Management System (Multi-Pod & Multi-Site, Single Pane of Glass, RBAC, GUI, REST API)
Integrated SDN Controller (SP-centric networking)
Day 0
Day N
OpenStack,
Linux & Storage
Distribution
Cisco UCS FI
Cisco NCS5000
H/W Accelerator*
NIC
Hardware
Turn Key
Packaged
Software
Performance Enhancement (FD.io VPP, tuning – CPU pinning, NUMA and many more)
Cisco VIM

## Slide 11: Footprint Evolution of Cisco NFVI PODs
Full / Standard POD
(Central / Regional DC)
Hyper-Converged POD
(Central / Regional DC / CO)
Micro-POD
(CO / Agg / MSO / HE)
30% Footprint reduction
60% Footprint reduction

## Slide 12: CVIM Unified Management

## Slide 13: Cisco VIM Unified Management (UM)
Containerized Deployment (Easy to update and upgrade)
Multi-Site and Multi-Pod (Single Pane of Glass to Deploy and Manage Distributed deployments)
Intuitive GUI (Intuitive Graphical User Interface)
Ubiquitous Security (TLS, SELinux, non-root, Certificate Management RBAC, etc. )
Multi-User and RBAC (Multiple concurrent sessions and RBAC for security)
Cisco VIM
Unified
Management
Highly Scalable (Light Weight , stateless and REST API driven)
Virtualized Infrastructure Manager
Cisco VIM

## Slide 14: Cisco VIM Unified Management Deployment Models
Pod 1
Cisco VIM UM Node
CVIM Pod 1
Mgmt Node
Cisco VIM UM on Dedicated UM Node
Cisco VIM UM SW
Cisco VIM UM
Portal
Dedicated Node
Cisco VIM UM Portal
CVIM Pod 2
Mgmt Node
CVIM Pod N*
Mgmt Node
Control, Compute & Storage servers
CVIM Pod 2
Control, Compute & Storage servers
CVIM Pod N*
Control, Compute & Storage servers
REST API
Management in NOC
Intelligence on site

## Slide 15: CVIM Orchestration Evolution

## Slide 16: Cisco VIM Evolution
Bring more back to the NOC
  No deployment hardware at the site
Centralize all Management Functionality
  Deployment across WAN with minimum of site intervention
    Low-touch at site; make deployment and repair non-technical
  Logging, monitoring, metrics and alerting
Work with multiple cloud types and software versions
  Lightweight edges with containerized NFV as well as today’s VM based NFV
  Management through a single interface in the NOC
  Inventory management to uniquely identify servers across the clouds

## Slide 17: Summary
Even when centralized cloud deployment is solved, the edge brings new challenges
Ensuring that your applications run is only one piece of the puzzle
Operational overhead can derail your plans with hidden costs and complexities
Cisco is creating a cloud infrastructure for SPs that is built to scale as the edge becomes a reality

## Slide 18: Cisco Sessions @ OpenStack Summit

## Slide 19: Cisco Presentations May 21-22, 2018
Presenter | Title | Day / Time | Location
John Joyce, Tim Swanson | Stretching your Application from OpenStack into Public Cloud | Monday, May 21 3:05PM | Room 205-207
Sanhya Dasu, Vikram Hosakote | Vendoring Your Containers with Kolla | Monday, May 21 5:40PM | Lightning Talk Theater
Shannon Mcfarland | Multicloud Networking – Connecting OpenStack Private Clouds to Public Clouds | Tuesday, May 22 9:00AM | Room 118-120
Ifti Rathore | Building NFV Solutions with OpenStack and Cisco ACi | Tuesday, May 22 9:00-9:40AM | Room 202-204
Rafi Khardalian | Cisco Container Platform – An Enterprise Kubernetes Platform for the Multicloud World | Tuesday, May 22 9:50-10:30AM | Room 202-204
Chandra Ganguly, Ian Wells | From Core to Edge : Making Clouds Work for Telcos | Tuesday, May 22 11:00-11:40AM | Room 202-204
Naren Narendra, Jeffrey Saelens | Moving to the Edge with NFV | Tuesday, May 22 11:50-12:30PM | Room 202-204
Dave McCowan | Barbican – Project Update | Tuesday, May 22 11:50-12:10PM | Room 212

## Slide 20: Cisco Presentations May 23-24, 2018
Presenter | Title | Day / Time | Location
Dave McCowan | Barbican – Project Onboarding | Wednesday, May 23 9:00am-9:40am | Room 223
Ian Wells w/ Verizon, Ericsson, OPNFV and OpenStack Foundation | Containers, Cloudlets, Bare-Metal, VMs: Edge Computing Choices for Workload Flexibility | Wednesday, May 23 1:50PM | Room 205-207
Hareesh Puthalathm, Ian Wells, Sebastian Jeuk | Using Neutron BGP VPN for Edge Networking | Wednesday, May 23 4:40PM | Room 205-207
Dave McCowan | Defending the Cloud Castle: The OpenStack Weapons and Warriors That Are Keeping Security Threats at Bay | Thursday, May 24 11:00am-11:40am | Room 121-122
Bob Melander, Sridar Kandaswamy, Shweta Padubidri | Multicloud Connectivity Using openNHRP | Thursday, May 24 12:20PM | Lightning Talk Theater
Steven Dake w/ Red Hat, Google, IBM and OpenStack Foundation | Istio: How to Make Multicloud Applications Real | Thursday, May 24 2:40PM | Room 109-110
Tim Swanson, Arvind Somya | Bringing Istio to OpenStack | Thursday, May 24 4:40PM | Room 109-110